SOLAR FUTURE IN TURKEY

Dr. Kemal Gani Bayraktar

With a population reaching 76.7 million [1], Turkey’s energy consumption based on primary energy resources are continuing to increase. Total installed capacity of electricity is 69 516 MW and broke down by resources as 59,7 % thermic (natural gas, coals, liquid fuels etc.), 34 % hydro, 5,2 % wind and 1,1 % other renewables [2]. Turkey pays millions of dollars to its energy imports every year. The solar energy has the potential to reduce this cost in outstanding size in medium and long term.

In parallel with its population and GDP growth, Turkey has been experiencing rapid demand growth in all segments of the energy sector for decades. Turkey is developing an integrated energy policy aimed at securing a reliable supply of energy, as well as to achieve a low-carbon and environmentally sustainable future. Turkey also intends to promote employment and economic growth through its energy development. Solar energy has major role in Turkey’s renewable energy roadmap since the country is located geographically in a region called the “solar band”.

Solar Energy is the most important alternative clean energy resource which is still untapped in Turkey. Cumulative installed PV power in Turkey is about 55 MW and still quite a little when compared with its high potential. The yearly average solar radiation is 1311 kWh/m² per year and 
3,6 kWh/m2 per day. The total yearly insulation period is approximately 2460 hours per year and 7,2 hours per day. The energy yield potential for a PV plant is 1300-1600 kWh/kWp.

Ministry of Energy and Natural Resources (ETKB) has updated its Strategy Plan (2015-2019) and declared to the public on December 3rd, 2014. According to this plan, it is aimed to reach 3000 MW by the end of 2019 [3].

Market Development

The acceptance process (preliminary, final) to obtain production license for small-scale PV power projects up to 1 MW are ongoing and Turkish Electricity Distribution Company (TEDAŞ) is speeding up the process. The legislation defines the unlicensed electricity power limit as max. 1 MW. Only the unlicensed PV plants have been installed in Turkey so far. Some investors preferred to setup MW scaled PV plants in total by covering a few unlicensed plants. 112 of 1.183 small-scale PV power projects (up to 1 MW) are already installed with 40 MW in total in 2014 while the rest of projects with a capacity of 833 MW applied to the Turkish Electricity Distribution Company (TEDAŞ) are being evaluated to receive the acceptance. Although the installed capacity is only 55 MW up to now, it proves an acceleration since the cumulative grid-connected installed PV power was about 2,5 MW and 6 MW at the end of 2012 and 2013, respectively. Additionally, in the first license application round for a total of 600 MW projected PV projects larger than 1 MW has been completed by exceeding the proposed capacity by 15 times with 496 applications made to Energy Market Regulatory Authority (EPDK) reaching 8,9 GW in total. Large-scale PV power projects of 13 MW received their preliminary licenses in 2014 and the rest of 600 MW (230 MW of this amount in the short term ) is expected to receive the licenses following the competition process driven by Turkish Electricity Transmission Company (TEİAŞ) in 2015 which will be given by Energy Market Regulatory Authority (EPDK). It is expected that the other tenders and license procedures will be concluded in 2015. The ministry of council will determine the new capacity for licensed projects after 2015 [2].

In order to gain the recognition of Turkish Industry in global markets, to explain the legislation in Turkey to investors and to discuss the market conditions with shining opportunities, the following topics will be explained in this presentation by GUNDER, the voice of solar energy by representing the entire value chain in Turkey [3, 5].

- Turkey's legislation and the public's perspective on solar energy

- The projects carried out by the public sector and its potential contributions to the market

- Solar thermal industry in Turkey, market and opportunities

- Photovoltaics industry in Turkey, market and opportunities

- Evaluating Turkey through investor’s perspective

References

[1] “The Results of Address Based Population Registration System, 2013". Turkish Statistical Institute, Released in 2014.

[2] “5-year Electricity Energy Production Capacity Projection of Turkey (2014-2018)”, Published by TEİAŞ (Turkish Electricity Transmission Company), June 2014.

www.teias.gov.tr

[3]”Republic of Turkey Prime Ministry – Investment Support and Promotion Agency”, www.invest.gov.tr

[4] “Republic of Turkey Ministry of Energy and Natural Resources – Strategic Plan (2015 – 2019)”, www.enerji.gov.tr

[5] www.gunder.org.tr