The efficiency of short run and long run locational signals to coordinate generation location with lumpy transmission investments

Vincent Rious and Philippe Dessante

Supélec

3 rue Joliot-Curie

91192 Gif-sur-Yvette France

vincent.rious@supelec.fr and philippe.dessante@supelec.fr

(1) Overview

To ensure a non-discriminatory third party access to the network, the competitive reforms of the power sector have required to unbundle the network infrastructures from the competitive activities such that generation (FERC, 2006; European Commission, 2007; Pollitt, 2007). In this context, a monopoly called Transmission System Operator (TSO) manages the transmission network. The TSO and the generators invest then depending on their own objective function. The generators maximize profit. The TSO maximizes the social welfare if she is perfectly regulated. Despite network unbundling, the location of new generators remains highly dependent on transmission investments and vice versa. In this context, pricing schemes must be implemented to coordinate generation and transmission investments. One could think of relying on the well-known marginal pricing also called nodal pricing (Schweppe et al. 1988) to expand both generation and transmission capacity (Crew et al., 1995; Stoft, 2006). But applying this principle to the coordination of generation and transmission investments is not possible. The transmission of electricity suffers from many undesirable economic properties that make the direct application of these principles impossible. In particular, the transmisison investments are lumpy (Brunekreeft, 2004). Nodal pricing can then lead to inefficient location of generation because of this economic property of the transmission of electricity (Stoft, 2006). To comply wih this difficulty, long run network tariffs can complete short run nodal prices as locational signals (Pérez Arriaga-Smeers, 2003). This paper only focuses on one of them called average participation tariff This network tariff has been extensively studied from a static point of view (Kirschen et al.; 1996, Bialek, 1997; Rubio-Pérez Arriaga, 2000) but never from a dynamic point of view (Olmos, 2006). This paper is then going to study the efficiency of the average participation tariff and its joint implementation with nodal pricing to coordinate generation and transmission investments while the TSO and the generators are unbundled.

(2) Methods

Numerical simulations are performed on a two-node network evolving during twenty years with increasing demand. The efficiency of locational signals (from nodal pricing and the average participation tariff) to coordinate the location of generation with lumpy transmission investments is measured. An independent Transmission System Operator invests to minimize the total cost of the network, that is to say the sum of the cost of congestion with the cost of transmission investments. And a unique generator behaving competitively chooses the location of her investments depending on two elements: the locational difference in generation investment costs and the costs of the network she may pay with short run nodal prices and with the long run average participation tariff.

(3) Results

We find out that nodal pricing is seldom sufficient to coordinate the generation and transmission investments because lumpiness of transmission investment greatly decreases the differences in nodal prices that should signal congestion. Moreover, the implementation of the average participation tariff does not ensure that the generation and transmission investments is eventually optimal, because it is hard to take into account the lumpiness of transmission investment while respecting cost reflectivity. The average participation tariff then includes lumpiness only imperfectly. But implementing this tariff signicatively improves the coordination between generation and transmission investments comparing to situations without any locational signals.

We find out that neither short run nodal prices nor long run average participation tariffs can thoroughly coordinate efficiently generation and transmission investments because of the lumpiness of transmission line capacities.

(4) Conclusions

To conclude, the performed numerical simulations showed that the locational signals coordinate the generation and transmission investments with a variable efficiency because of lumpiness of transmission investment. The simulations show also that implementing locational network tariffs is prioritary over implementing nodal pricing to coordinate more efficiently the location of generation with lumpy transmission investment. In the considered examples, the average participation tariff allows a more efficient location of generation even when nodal pricing is not implemented for the short run system operation and the congestion management scheme is redispatch.

References

Bialek, J. W., 1997. Topological generation and load distribution factors for supplement charge allocation in transmission open access. IEEE Transactions on Power Systems 12 (3), 1185-1190.

Brunekreeft, G., 2004. Market-based investment in electricity transmission networks: controllable flow. Utilities Policy 12 (4), 269-281.

Crew, M.A., Fernando, C.S., Kleindorfer, P.R., 1995. The theory of peak-load pricing: a survey. Journal of Regulatory Economics 8, 215–248.47

European Commission, 2007. Communication from the commission to the European Conucil and the European Parliament. An Energy Policy For Europe. http://eur-lex.europa.eu/LexUriServ/LexUriServ.do?uri=COM:2007:0001:FIN:EN:PDF

FERC, 2006. Promoting Transmission Investment through Pricing Reform, Docket No. RM06-4-000; Order No. 679. http://energylegalblog.com/files/rm06-4_final_rule.pdf.

Kirschen, D., Allan, R., Strbac, G., 1996. Contributions of individual generators to loads and flows. paper 96 WM 175-3 PWRS presented at the 1996 IEEE PES Winter Power Meeting.

Olmos Camacho, L., 2006. Diseño regulatorio de la actividad de transporte en mercado de electricidad regionales. PhD dissertation, Universidad Pontificia Comillas de Madrid, Escuela Técnica Superior de Ingenieria.

Pérez-Arriaga, I., Smeers, Y., 2003. Guidelines on tariff settings. In: Lévêque F. (Ed), Transport Pricing of Electricity Network. Kluwer (ch. 7, pages 175-203).

Pollitt, M., 2007. The arguments for and against ownership unbundling of energy transmission networks. EPRG Working Papers, http://www.electricitypolicy.org.uk/pubs/wp/eprg0714.pdf.

Rubio, F. J., Pérez-Arriaga, J. I., 2000. Marginal Pricing of Transmission Services: A Comparative Analysis of Network Cost Allocation Methods. IEEE Transactions on Power Systems 15(1), 448-454.

Schweppe, F.C., Caramanis, M.C., Tabors, R.D., Bohn, R.E., 1988. Spot Pricing of Electricity, Kluwer Academic Publishers

Stoft, S., 2006. Problems of transmission investment in a deregulated power market. In: Lévêque F. (Ed), Competitive Electricity Markets and Sustainability. Edward Elgar (ch. 4, pages 87-130)