Method Review of national Comprehensive Assessments performed under Article 14 eed

Richard Büchele, Energy Economics Group TU Wien,

+43 (0) 1 58801 370381, buechele@eeg.tuwien.ac.at

## Overview

As part of the EU Energy Efficiency Directive (EED, Article 14) [1] all Member States have to develop a Comprehensive Assessment of the potential for the application of high-efficient combined heat and power (CHP) and efficient district heating and cooling by the end of 2015. Among others this Comprehensive Assessment shall include following points mentioned in Annex VIII: (1) a description of current heating and cooling demand, (2) a forecast of how this demand will change in the next 10 years, taking into account the evolution of demand in buildings and the different sectors of industry, (3) an identification of the heating and cooling demand that could be satisfied by high-efficiency cogeneration, including residential micro-cogeneration, and by district heating and cooling. For the purpose of the Comprehensive Assessment Member States shall carry out a cost-benefit analysis described in Annex IX/Part I of the EED, capable of facilitating the identification of the most resource-and cost-efficient solutions to meet heating and cooling needs covering their territory. This cost-benefit analysis shall include: (a) the establishment of system and geographical boundaries, (b) an integrated approach to demand and supply options, (c) the construction of a baseline, (d) identifying alternative scenarios, (e) a method for the calculation of cost-benefit surplus, (f) calculation and forecast of prices and other assumptions for the economic analysis, (g) inventory of effects of economic analysis, and (h) sensitivity analysis. Although the EED and its guidance notes [2] give elements of guidance on how to perform the Comprehensive Assessment and the cost-benefit analysis, each country decides on the details regarding approaches, models, data and assumptions used. This paper aims to review and compare the three mentioned parts of the Comprehensive Assessments performed from the different Member States. Also the underlying cost-benefit analyses will be reviewed and compared to the extent as information is available in the reports. The proposed policy measures to reach identified potentials will not be part of this review.

## Methods

The Comprehensive Assessments will be reviewed and compared in the above mentioned points: (1) Which sectors, end uses, energy carriers are distinguished and which definitions for respective energy terms are used? Which datasets and data sources have been used? Which method was used to generate spatial resolution of heating and cooling demand in different sectors and which spatial resolution was achieved? (2) Which assumptions were made and which modelling methods were used to forecast the demand? Which quantitative differences in the forecasts were resulting from the different methods and assumptions in the different countries, and how do these forecasts relate to forecasts for these countries from EU-wide calculations (e.g. PRIMES scenarios)? How many forecasts were calculated within the different assessments? (3) Which methodology was used and which assumptions were made to determine the heating and cooling demand that could be satisfied by high efficiency cogeneration and efficient district heating? In which way was residential micro-cogeneration considered?

To review the underlying cost-benefit analysis, available information on the different steps will be compared to describe in which way the cost-benefit analysis was conducted and applied: What are the parameters for the geographical boundaries? On which level was the cost-benefit analysis performed? What are the assumptions for the baseline and the alternative scenarios? Which method was applied? Which costs were considered and how is benefit defined? Which parameters were used to identify the potential for district heating? What roles do heat densities, heat demand, linear densities, plot ratio, population or building density play? Is the expansion of district heating network considered and in which way? And which parameters were subject to the sensitivity analysis and which one the most sensitive?

## Results

So far ten different Comprehensive Assessments have been officially published and are available in English language. However, the author does also have access to the Austrian Comprehensive Assessment [3] which was co-developed by the author and the German assessment [4] is known very well by the author and discussions with the German author on the methodology have already taken place. The Assessments available in English language on the Commissions’ homepage are the ones of Ireland [5], Malta [6], Netherlands [7, 8], Romania [9], France [10], UK [11], Finland [12], Poland [13], Lithuania [14] and Denmark [15]. The work will be conducted in early spring 2016 in order to be available in an up-to-date status for the conference.

## Conclusions

The review of the Comprehensive Assessments will lead to a better understanding of the differences in identified potentials resulting from different methods and approaches used. Furthermore it will show the differences in available data for regarding analyses in the countries. This knowledge can be used to develop better methods and tools considering different steps of analysis and being applicable for a broad range of countries.

## References

[1] „Directive 2012/27/EU of the European Parliament and of the Council of 25 October 2012 on energy efficiency, amending Directives 2009/125/EC and 2010/30/EU and repealing Directives 2004/8/EC and 2006/32/EC, 2012,
http://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32012L0027&from=EN.

[2] „Guidance note on Directive 2012/27/EU“.
http://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:52013SC0449&from=EN.

[3] Büchele et. al., 2015. „Bewertung des Potenzials für den Einsatz der hocheffizienten KWK und effizienter Fernwärme- und Fernkälteversorgung“. Endbericht. Vienna: TU Wien EEG, Ecofys
http://www.bmwfw.gv.at/EnergieUndBergbau/Energieeffizienz/Documents/FW_KWK_Endbericht_Review_an_Ministerium_barriere_last_2003_V3_MH.pdf

[4] Wünsch et. al, 2014. „Potenzial- und Kosten-Nutzen-Analyse zu den Einsatzmöglichkeiten von Kraft-Wärme-Kopplung (Umsetzung der EU-Energieeffizienzrichtlinie) sowie Evaluierung des KWKG im Jahr 2014“. Endbericht. Berlin: Prognos,
http://www.bmwi.de/BMWi/Redaktion/PDF/Publikationen/Studien/potenzial-und-kosten-nutzen-analyse-zu-den-einsatzmoeglichkeiten-von-kraft-waerme-kopplung,property=pdf,bereich=bmwi2012,sprache=de,rwb=true.pdf

All following References can be found on the EU Commission’s Homepage:
https://ec.europa.eu/energy/en/topics/energy-efficiency/cogeneration-heat-and-power

[5] „Cost Benefit Analysis of the potential for High-Efficiency Cogeneration and Efficient District Heating & Cooling in  Ireland“. Sustainable Energy Authority of Ireland and AECOM, Dezember 2015.

[6] Borg, Eugenio. „Analysis for a cost-effective and efficient heating and cooling“. Malta: Ministry for energy and health, 2015.

[7] Ab de Buck, Hers Sebastiaan, Afman Maarten, Croezen Harry, und Rooijers Frans. „The Future of Cogeneration and Heat Supply to Industry and Greenhouse Horticulture“. Delft: CE Delft, Oktober 2014.

[8] Ruud, van den Wijngaart, Folkert Rob, und Elzenga Hans. „Heating the built environment more sustainably by 2050“. Netherlands: Netherlands Environmental Assessment Agency, o. J.

[9] „Report on the assessment of the national potential to implement high-efficiency cogeneration and efficient district heating and cooling“. Romania: Ministry of Regional Development and Public Administration, Dec 2015.

[10] „Report from France on the transposition of Article 14(1) and (3) of Directive 2012/27/EU on energy efficiency“. Paris, Dezember 2015.

[11] Mahmoud, Abu-Ebid. „National Comprehensive Assessment of the Potential for Combined Heat and Power and District Heating and Cooling in the UK“. Didcot, UK: Ricardo Energy & Environment, Dezember 2015.

[12] Terttu, Vainio, Lindroos Tomi, Pursiheimo Esa, Vesanen Teemu, Sipilä Kari, Airaksinen Miimu, und Rehunen Antti. „High-efficiency CHP, district heating and district cooling in Finland 2010-2025“. Finland, November 2015.

[13] „Comprehensive assessment of the potential for the application of high-efficiency cogeneration and efficient district heating and cooling in Poland“. Poland: Ministry of Energy/ Ricardo-AEA, o. J.

[14] „Comprehensive Assessment of High-Efficiency Cogeneration and Efficient District Heating Capacities in the Republic of Lithuania“. Lithuania: Lithuanian Energy Institute, 2014.

[15] „A comprehensive assessment of the potential for the application of high-efficiency cogeneration and efficient district heating and cooling in Demark“. Denmark: Danish Energy Agency, Dezember 2015.