Overview

Energy Perspectives - The ASEAN Energy Outlook 2015

[Jose Antonio Ordonez, Fraunhofer ISI, +49 (0)721 6809 383, joseantonio.ordonez@isi.fraunhofer.de]

[Martin Pudlik, Fraunhofer ISI, +49 (0)721 6809 332, martin.pudlik@isi.fraunhofer.de]

[Wolfgang Eichhammer, Fraunhofer ISI, +49 (0)721 6809 158, wolfgang.eichhammer@isi.fraunhofer.de]

## The Association of Southeast Asian Nations (ASEAN) is one of the fastest growing economic regions in the world. The 4th ASEAN Energy Outlook aims to provide policy makers with an understanding of the energy trends and challenges being faced by the region up to the year 2035, while also to strongly involve all ASEAN Member States in the process. The outlook is a fundamental input while also complements the implementation of the ASEAN Plan of Action for Energy Cooperation (APAEC) 2016-2025, thereby deriving strategies within the ASEAN to address future energy challenges. The APAEC 2016-2025 show the answer towards the challenges determined in the outlook, comprising the goal to achieve a 23% share of renewable energy in energy mix by 2035, as well as a reduction of energy intensity of 20% by 2020 as compared to 2005 levels.

## Methods

## To estimate future demand, econometric projections of energy demand were computed,  using socio-economic variables as explanatory variables for the sectoral final energy demand development of the ASEAN member states. The Outlook uses national socio economic GDP growth aspirations as well as national population growth forecasts within the period 2013-2035 as the drivers of final energy demand. The computed final energy demand is combined with bottom-up energy system models for each ASEAN Member State, thereby allowing to determine the primary energy requirements and resource deployments. Each member state’s results were then aggregated to obtain the regional outlook, while further validated by an independent regional forecast control model. The outlook´s final results are therefore in-line with the Member States’ expectations on their future energy landscape.

## Results

## BAU scenario: The ASEAN is expected to require more than 2.7 times its energy demand in 2013 to meet the corresponding economic growth targets. Yet, during the same time frame, GDP is forecasted to increase by a factor of 3.7, implying a future energy intensity reduction. ASEAN´s Total Primary Energy Supply (TPES) is expected to amount to 1,685 Mtoe of in 2035, up from 619 Mtoe in 2013.

## APS scenario: In the Advancing Policy Scenario, ASEAN is expected to require more than 2.3 times of its current annual energy requirements in order to maintain economic growth as targeted. Yet, the implementation of policies targeting higher efficiency standards in the transformation sector, demand-side management and deployments of renewable energy will in turn lead to substantially lower primary energy requirements: The TPES will grow at a slower yearly average rate of 4.0%, accounting for 1,468 Mtoe in 2035. This corresponds to primary energy savings of about 13% as compared to BAU.

The CO2 emissions are expected to increase by factor 3 in BAU and 2.6 in APS as compared to 2013 levels given the fossil-fuel based energy system´s development.

## Conclusions

The outlook underlines the major challenges in terms of energy security and enivornmental issues being faced in the middle-term in the ASEAN. It further underlines the potential for the use of renewable energy by the ASEAN Member States as an important element in a diversified energy mix as well as contributor to the labor market and local manufacturing – as a catalyst for economic development. This potential has, to a large extent, not been tapped so far. Additionally, the outlook highlights the fact that further cooperation and regional integration is a key strategy to address future challenges.