[How CCS works for future Power Market in Japan and its impact on the Demand of FOssil Fuels especially Coal]

Hisanori Nei,Professor, National Graduate Institute for Policy Studies(GRIPS), +81-3-6439-6208, h-nei@grips.ac.jp

## Overview

There are about 80Mt coal and 50Mt natural gas consumed in the power market in Japan. While increasing concern about its carbon intensity, after Fukushima nuclear accident , coal and natural gas consumption has gradually increased because of stable price and supplysources.

80Mt import of thermal coal to Japan count about 6 % of total coal trading volume in the global market.50Mt import of gas for power generation also count about 15% of total LNG trading.

The main driver of coal and natural gas consumption expansion in Japan is relatively cheaper price than oil and cost competitiveness in the power market. Coal firing power generation is still one of the cheapest options of electricity just after nuclear.

In order to reduce CO2 emission of fossil fuels firing power plant, there are two options. One is to improve efficiency of power generation , the other is to attach CCS.

In order to maintain stable supply of power to reduce the cost of CCS is important factor to consider.

Based on several research and development projects we estimate the way to reduce the cost of CCS.

We need to set target of cost reduction for further introduction and commercialization of CC in Japan (in progress)

## Methods

I conduct interviews with executives of utility companies, trading houses, government officials to create potential scenarios together with literatures reviews and empirical analysis of activities.

I also join a study team with experts from companies, research institute, governmental agencies to make relevant cost survey.

## Results

Cost of CCS based on conducting projects is around 6-8 yen/kwh

If we can reduce the cost 20% more, it will be bellow 5 yen/kwh by 2030(under review)

It might be good enough to compete with the other power sources by 2030.

## Conclusions

Based on latest improvement of cost reduction for CCS, there are positive prospect to introduce in the power market in Japan.

But it require more cost reduction.

We also need to consider the cost of supply security as well.

## References

Financing trends and challenges for coal-fired power plant, Paul Baruya, October 2016

On the climate change mitigation potential of CO2 conversion to fuels, J. Carlos Abanades, Edward S. Rugin, Marco Mazzotti and Howerd J. Herzog. Energy Environ.Sci, 2017.10

Numerical Modelling on CO2 Storage Capacity in Depleted Gas Reservoirs, Takashi Akai,,Naoki Saito, Michiharu Hiyama and Hiroshi Okabe, Energies 2021