METHOD TO CALCULATE THE CUSTOMER BASE-LINE FOR A DEMAND RESPONSE PROGRAM IN THE COLOMBIAN POWER MARKET

Edgar Escobar, Universidad de los Andes, Phone +57 318 690 80 43, E-mail: e.escobar39@uniandes.edu.co

Angela Cadena, Universidad de los Andes, Phone +57 315 394 27 22, E-mail: acadena@uniandes.edu.co

Maria Elsa Correal, Universidad de los Andes, Phone  E-mail

Hernando Duran, Universidad de los Andes, Phone E-mail: hduran@uniandes.edu.co

## Overview

This paper presents a method to produce a Baseline electricity consumption model to be used by the first Demand Response Program in Colombia. The method responds to the needs of the new regulatory scheme to garuantee the reliability in the supply of the electric energy in Colombia called the Reliability Charge. This scheme, includes a voluntary load reduction (VLR) program in the form of a contingency mechanism. According to international experience, voluntary load reduction programs have been design to operate when expected demand surpases the maximum installed capacity; these situations usually occur at the peak periods and have a short duration. The VLR objective, is then to translate high peak consumptions to lower periods of consumption in exchange of an incentive. In our case, the program must be designed to cover scarcity of hydro resources. For this reason, The System Operator (ISO) requires a methodology to calculate a proper Base-Line from which it could determine effective reduction. We propose a statistical method appropiate for time series with the following characteristics: i) Easy to implement and upgradeable ii) Flexible and General as possible. iii) Takes into account seasonality, slope and level change. iv) Generates a value that indicates accuracy to estimate the forecasted values of the CBL.

## Methods

The method is an adaptation of the decomposition method which it’s based in the representation of the daily consumption of a user Ct, using components of slope Tt, seasonality Et and an error ut.

The slope component describes the behaviour of the series in the long term. The seasonal component determines an index for each of the seven days of the week, E1, E2,..., E7, it represents the value of seasonal change for every day according to the series mean value. The method will obtain and estimate each of the components and then it will forecast a whole week. This is made through a four stages process: i) Data capture and transformation, ii) Index estimate E1,E2,...,E7. iii) Slope estimate and iv) Forecasts for a week.

## Results

A cluster of non-regulated frontiers were chosen as a sample. Using this data a verification and statistical process was establish to compare different baseline models and establish its abilities to address Colombia`s target and correctly explain user consumption patterns. The studied clusters, showed that a high number of users can join the program under the proposed base-line model.

## Conclusions

The Decomposition Method offers the best characteristic to the specific problem. It showed  a good level of accuracy and high flexibility, this allows a good amount of users to participate and present reduction offers in scarcity periods.

The verification process is easy to follow and offers a high ability to evaluate and determine real reduction offers.

## References

[1] UNIVERSIDAD DE LOS ANDES, “Asesoría para el diseño de un mecanismo de mercado para la participación y remuneración de la demanda eléctrica desconectable”. May, 2007.

[2] California Energy Commission Consultant, Report Protocol Development for demand response calculation-Findings and Recommendations, February 2003

[3] Edison Electric Institute, “Economic principles of demand response in electricity” October, 2002.

CV

AUTHORS RESUME

Edgar Escobar. Electrical Engineer of the University of Los Andes in Bogota, Colombia with a Masters Degree in Economics from Macquarie University in Sydney, Australia. Has worked in regulation and prices and has worked in the development and research of demand response program. He is currently working in the University of los Andes as a Research Assistant in projects of Demand Behaviour.

Angela I. Cadena is an Electrical Engineer graduated from the University of los Andes. She has a Ph.D. on Management Science from HEC of the University of Geneva. She is an Associate Professor of the School of Engineering at the University of Los Andes. She was the Head of the Colombian Energy and Mining Planning Unit and worked in the Colombian research and development Fund.

Hernando Duran Electrical Engineer graduated from the University of los Andes 1956-1961 with a Bachellor Of Science U.I. - University of Illinois. He has a Ph.D on Engineering Economic Systems SU - Stanford University 1978.  and a Master Of Science U.I. - University of Illinois 1963. His Current work and research covers Energy- Optimisation of power systems an small waves

Maria Elsa Correal Mathematician from University of los Andes  in 983. Ph.D in StatisticsEstadística, University Nacional of Colombia. MSc. Mathematical Statistics, University of Massachusetts, USA 1990.. Current work and research cobres Forecasts and Time Series, Econometric Models and Analisis of data statistics.