Efficient electricity generation portfolio in Brazil

Luciano Losekann, UFF,losekann@economia.uff.br, 5521  38735269

Francisco Ramos-Real, Universidad de La Laguna

Gustavo Marrero, Universidad de La Laguna

Edmar de Almeida, UFRJ

- Overview

The Brazilian electricity generation mix is characterized by the predominance of hydropower. It represents 77% of total generating capacity. So, generation cost is largely dependent on hydrology. In wet periods electricity is very cheap but it can reach high values during dry periods. The introduction of complementary power sources mitigates cost volatility. It is especially relevant because energy production of new hydropower plants in Brazil will be more volatile, as their reservoirs are not large. The purpose of this paper is to evaluate adequacy of the Brazilian generating mix and its planned expansion, considering average and volatility of generating cost. We apply mean-variance portfolio theory as to identify the efficient frontier for the Brazilian power generating mix. It serves as a benchmark to compare with current and planned mix. We also consider different scenarios where capacity expansion is oriented to other sources than hydro (biomass, nuclear, wind, gas or a combination of them).

- Methods

Our analysis follows a set of studies that applies modern finance theory (portfolio theory) to evaluate the efficiency of electricity generating mix (as Marrero and Ramos-Real, 2010 and Awerbuch and Berger, 2003). Our first task consists to identify average cost and volatility for each generating technology in Brazil. We will take the figures of the literature and will adapt it to Brazil, regarding the available Brazilian information. We will use this data as to identify the efficient frontier in terms of average cost and risk. The adequacy of Brazilian generating mix is evaluated by how close it is from the efficient frontier. Last we will check how five technology scenarios for capacity expansion impact on the efficient frontier.

- Results

The expected result is that current Brazilian electricity generating mix is not adequate in terms of average cost and volatility. The literature indicates that hydropower contributes to low average cost but very high cost volatility. As hydropower represents the largest share of capacity expansion in the Brazilian energy planning (EPE, 2010), generating mix won’t be closer to the efficient frontier.

- Conclusion

Portfolio Theory gives a useful tool to analyze adequacy of investments in power generation in terms of expected cost and risk. In Brazil, there are complementarities between energy sources, as correlation of their costs tend to be low or negative. In fact, diversification of energy mix was pursued in the last two decades in Brazil. Our analysis suggests that this objective has to be followed in the energy planning.

- References

Awerbuch, S. (2006), Portfolio-based electricity generation planning: policy implications for renewable and Energy Security, Mitigation Adapt Strategies Global Change 11 (2006), pp. 693-710.

Awerbuch S. and Berger M. (2003), Applying portfolio theory to EU electricity planning and policy-making. IEA/EET. Paris; 2003. Avaliable from: http://www.iea.org/textbase/papers/2003/port.pdf.

EPE (2010), Plano Decenal de Expansão de Energia 2010-2019. Empresa de Pesqiosa Energética, Rio de Janeiro. Available from: http://epe.gov.br/PDEE/Forms/EPEEstudo.aspx

Feretic, D. and Tomsic, Z. (2005), Probabilistic analysis of electrical energy costs comparing production costs for gas, coal and nuclear power plants. Energy Policy 33 (1) (2005), pp 5-13.

Marrero, G. and Ramos-Real, F, Electricity generation cost in isolated system: The complementarities of natural gas and renewable in the Canary Islands. Renewable and Sustainable Energy Reviews, Volume 14 Issue 9, pp. 2808-2818.

Maues, J. (2008), Comparação de Fontes Primárias para Geração de Energia Elétrica no Brasil baseada em conceito de risco. PhD Thesis. Programa de Pós-graduação em Engenharia Mecânica da PUC-Rio.

Roques, F. A., Newbery, D. and Nuttall, Fuel mix diversification incentives in liberalized electricity markets: a mean-variance portfolio theory approach. Energy Economics, 30 (2008). Pp. 1831-1849.